## Slide 1: Trammell Crow Woodland Industrial Site Plan Review/Major Variance/Critical Areas Permit Hearing WLD-2023-019
Starting at 1 p.m. February 28, 2024
Hearing Examiner
Notice: This meeting will be recorded.

## Slide 2: Proposal
Two industrial buildings (931,186 sq. ft. total)
Up to four separate tenant spaces per building
Two Phases
  Each building could be built as a phase

## Slide 3: Site Plan
546 parking spaces
Trailer storage
191 loading docks
Rose Way extension (West side)
N Pekin Road frontage
Improvements (East side)

## Slide 4: Location
Parcels
  507350102 (22.91 acres) & 507350104 (46.92 acres)
Address
  345 N Pekin Rd
Zoning
  Light Industrial (I-1)

## Slide 5: Light Industrial (I-1)
Permitted Uses, WMC 17.44.020:
  Warehousing, storage, and distribution centers, including freight handling terminals

## Slide 6: Development Standards
Front setback: 25 ft.
Side setback: 10 ft.
Rear setback: 10 ft.
Max building height:
  55 feet to eave height if the property is larger than one acre in size.
Reference
Findings: 36-37
WMC 1744.070
WMC 17.44.080

## Slide 7: SPR– Criteria to Approve
  Landscaping
  Screening
  Parking
  Frontage improvements
  Critical areas
  Design
  Sewer
  Water
  Stormwater
  Erosion
Proposal must comply with applicable regulations including:
Reference
Findings: 5-34, 39-40,

## Slide 8: Critical Area Permit
Requirements:
  Mitigation sequencing
    Avoidance
    Minimization
    Repair
    Restoration
    Preservation/maintenance
    Compensation
    Monitoring

## Slide 9: Critical Areas
Oregon white oaks
  1 removed
  587 sq. ft. of impacted dripline

## Slide 10: Critical Areas
2 regulated wetlands
  Wetland A (bottom)
    80-foot buffer
  Wetland B (top)
    80-foot wetland buffer but 200-foot RHA buffer
Plus smaller exempt wetlands
    C, D, and E.

## Slide 11: Major Variance
Applicants propose a reduction to the buffer of wetland B from 200 feet to 21 feet at its smallest width

## Slide 12: Mitigation
Applicants submitted a critical areas report and mitigation plan prepared by Ecological Land Services, Inc. dated November 30, 2023, with an addendum dated February 16, 2024, to address staff’s comments

## Slide 13: Mitigation
Mitigation proposed:
  Enhance buffer with Oregon white oaks, shrubs, logs, woody pies, vertical snag, bird nests, and bat houses
  0.077 credits of Columbia River Wetland Mitigation Bank

## Slide 14: Site

## Slide 15: Site

## Slide 16: Site

## Slide 17: Site

## Slide 18: Staff Recommendation
Proposal meets WMC
Approve with conditions
Reference
Section VI
Page: 15

## Slide 19: Site Plan

## Slide 20: Critical Area Variance Criteria
Circumstances or conditions, particular to the land on which the activity is proposed, exist that are special and are not applicable to other lands in the same area.
The special circumstances or conditions are not the result of actions of the applicant.

## Slide 21: Critical Area Variance Criteria
Literal application of the provisions of this chapter would deny this applicant use and privileges enjoyed by other properties in the immediate vicinity, and the variance requested is the minimum necessary to provide that use and privilege.
No special privilege will be granted to the applicant that is denied other lands or structures under similar circumstances.

## Slide 22: Critical Area Variance Criteria
The variance is consistent with the intent of this chapter.
The variance will not further degrade the functions or values of the critical area or be materially detrimental to the public health, safety, and welfare.

## Slide 23: Critical Area Variance Criteria
The decision to grant is supported by best available science.
The variance is consistent with the city's comprehensive plan and zoning codes and other adopted development regulations.

## Slide 24: Major Variance Criteria
That such variance is necessary, because of special circumstances or conditions relating to the size, shape, topography, location, or surroundings of the subject property, to provide it with use, rights, and privileges, permitted to other properties in the vicinity and in the zone in which the subject property is located.

## Slide 25: Major Variance Criteria
That the granting of such variance will not be materially detrimental to the public welfare or injurious to the property or improvements in the vicinity and zone in which the subject property is situated.
No use variance shall be granted except for lawfully created pre-existing uses in accordance with WMC 17.60.